## Slide 1: Total Absorption Spectroscopy Measurement of
Alex Laminack
6/24/2021

## Slide 2: Pandemonium Effect
Unexpected weakness of high-precision, low efficiency setups (germanium)
Low efficiency combined with high density of states and many weak gamma transitions leads to misinterpretation of beta feeding

## Slide 3: Motivation – Decay Heat
Decay heat: gamma energy released by β-decaying fission fragments in nuclear reactors
~8% of heat while running,
100% of heat while shut down
β-feeding intensities critical to
modeling decay heat
Cumulative Yield: 0.6%
http://www.nndc.bnl.gov
Direct Fission Yield

## Slide 4: Motivation - Reactor Anti-neutrino Anomaly
Anti-neutrino flux from reactors measured using inverse β decay (IBD)
Anti-neutrino energy threshold for reaction: 1.806 MeV
β-feeding intensities affect predicted anti-neutrino energy spectrum
Inverse β decay

## Slide 5: Motivation – Reactor Anti-neutrino Anomaly
Observed deficit of anti-neutrinos detected compared to predicted
Observed ratio:
Predicted anti-neutrino flux measured by IBD calculated using β-feeding intensities
G. Mention, M. Fechner, Th. Lasserre, Th. A. Mueller, D. Lhuillier, M. Cribier, and A. Letourneau Phys. Rev. D 83, 073006

## Slide 8: Previous Measurements
Kern et al. (1982)
Germanium measurement: High precision - low efficiency
Partial decay scheme identified
No β-feedings assigned

## Slide 9: Modular Total Absorption Spectrometer (MTAS)
1 ton of NaI consisting of 19 individual modules
6 tons of lead shielding
Silicon beta trigger
M. Karny et al., NIM A 2016
Total γ
Partial γ
Center
Inner

## Slide 10: MTAS Experiment
, , and produced by fission beam at CARIBU at Argonne National Lab
Ions implanted on tape outside of MTAS and moved into the detector array in cycles
https://nndc.bnl.gov
: keV
: keV
: keV

## Slide 11: Data
Short lived contaminant excluded by omitting first few seconds of data
Early cut: 10 second block
  Contains ~75% of all decays
Late cut: 10 second block immediately following early cut
  Used to subtract and
Late
Early

## Slide 12: Total β-Gated MTAS Data (Early Cut)

## Slide 13: Total β-Gated MTAS Data (Early Cut)
+ +
+

## Slide 14: Fitting Procedure
Simulate MTAS response for each gamma decay path in ENSDF
Fit the MTAS spectrum with response functions using expectation minimization algorithm
Include “late cut” as a contaminant response function in fit procedure

## Slide 15: Fit Results

## Slide 17
Preliminary

## Slide 18
Added Pseudo-Levels
(Not included in ENSDF)
Preliminary

## Slide 19
Added Pseudo-Levels
(Not included in ENSDF)
~55% feeding to the ground state
Preliminary

## Slide 20: Decay Heat Results
MTAS average gamma energy: 1822 ± 29 keV
ENDF Value: 3058 keV
  Based on β strength calculations

## Slide 21: Thanks To Our Collaborators!

## Slide 22
BONUS SLIDES!

## Slide 23: Half-Life
Q value is the highest
Acquire clean time spectrum by gating on energies above ~5000 keV

## Slide 24: Half-Life
Q value is the highest
Acquire clean time spectrum by gating on energies above ~5000 keV
s
3σ disagreement with current value of s